PPR Penside Test Kit (Peste des Petits Ruminants Virus) 
Catalog No.: JIB602

INTENDED USE

The PPR Penside Test Kit is a rapid test for the detection of PPR virus. It is an immuno-chromatographic assay for the qualitative diagnosis of Peste des Petits Ruminants Virus Antibody (PPR Ab) in sheep’s serum or plasma specimen. 

Assay Time:  10 minutes
Specimen: serum, or plasma specimen.
PRINCIPLE

The PPR Penside Test Kit is based on sandwich lateral flow immunochromatographic assay. The test device has a testing window for the observation of assay running and result reading. The testing window has an invisible T (test) zone and a C (control) zone before running the assay. When the treated sample was applied into the sample hole on the device, the liquid will laterally flow through the surface of the test strip and react with the pre-coated PPR antigens. If there are anti-PPR antibodies in the specimen, a visible T line will appears. The C line should always appear after a sample is applied, which indicates a valid result. By this means, the device can accurately indicate the presence of Bovine Brucella antibodies in the specimen. 

REAGENTS AND MATERIALS
20 Test devices

Disposable droppers
1 Products Manual
STORAGE AND STABILITY
The kit can be stored at 2-8°C. The test kit is stable through the expiration date (18 months) marked on the package label. DO NOT FREEZE. Do not store the test kit in direct sunlight.

TEST PROCEDURE

Collect sheep’s fresh whole blood, get the serum or plasma specimen for use. Immediately apply the testing once collected the specimen. If not use right now, keep storage at 2-8°C. If the storage time more than 24hours, the specimen should be frozen at -20°C.

Take the test kit to room temperature (20-30°C) before use. Keep all component in room temperature for at least 30 minutes to recover the reaction conditions. 

Take out the test device from the foil pouch and place it horizontally.

Place 4 drops (approx. 120μL) of serum or plasma specimen into the sample hole of the test card.  

Interpret the result at 10 minutes. Result after 15minutes is considered as invalid. 

[image: image1.png]B B | B | s O

Positive Negative Invalid



INTERPRETATION OF RESULTS

Positive: The presence of both “C” line and zone “T” line, no matter T line is clear or vague. 

Negative: Only clear C band appear. No T band. 

Invalid: No colored band appears in C zone. No matter if T band appears.

PRECAUTIONS

Do not use tap water or other liquid as negative control. Only serum or plasma could be used in the assay. 

All reagents must be at room temperature before running the assay.

Do not remove test cassette from its pouch until immediately before use.

Do not use the test beyond its expiration date. 
The components in this kit have been quality control tested as standard batch unit. Do not mix components from different lot numbers.

All specimens are of potential infection. It must be strictly treated according to the rules and regulations by local states. 

LIMITATION

PPR Penside Test Kit is for in vitro veterinary diagnosis use only. All result should be considered with other clinical information available with veterinarian. It is suggested to apply a further confirmative method when positive result was observed. 
[image: image2.emf] 


. J&G Biotech Ltd
326 Cleveland Road, London
England E18 2AN, United Kingdom


